## F1 EQUIP. COORD. SCH.
EQUIPMENT COORDINATION SCHEDULE
GENERAL NOTES: |  | 1. ALL ITEMS NOTED AS ***** ARE SUPPLIED AND INSTALLED IN THE MILLWORK PACKAGE BY THE NATIONAL ACCOUNT MILLWORK VENDOR AS PART OF THE G.C. SCOPE AND PRICE. 2. MILLWORK ITEMS NOTED AS (PAID FOR BY PETSMART) ARE NOT A PART OF THE G.C. PRICE BUT ARE STILL DELIVERED AND INSTALLED AS PART OF THE G.C. MILLWORK PACKAGE . 3. ALL MILLWORK IS TO RECEIVE RUBBER COVE BASE WHICH IS SUPPLIED AND INSTALLED BY THE G.C. 4. ALL BLOCKING AND BACKING IS SUPPLIED AND INSTALLED BY THE G.C.
ROOM NAME & NUMBER | FIXTURE REFERENCENUMBER | ITEM | SUPPLIED AND INSTALLED BY OTHERS | SUPPLIED BY OTHERS INSTALLED BY G.C. | SUPPLIED AND INSTALLED BY G.C. | ELECTRICAL REQUIRED BY G.C. | PLUMBING REQUIRED BY G.C. | PLUMBING FINAL CONNECTION BY G.C. | REMARKS
BUILDING EXTERIOR | 001 | PET CLEANUP STATION (EXTERIOR) |  | ● |  |  |  |  | ALLOW FOR 4 BOLT MOUNTS TO HARD LANDSCAPE.
| 002 | COMING SOON BANNER |  |  | ● |  |  |  | SEE A0.1 FOR ORDER FORM.
| 003 | BIRD DETERRENT |  |  | ● | ● |  |  | SUPPLIED BY NATIONAL ACCOUNT LIGHTING VENDOR AS PART OF G.C. SCOPE.
| 004 | ASH/TRASH CAN |  |  | ● |  |  |  | SEE F2.0 FOR SPEC AND REQUIRED VENDOR. (MATCH CENTER SPEC WHEN REQUIRED)
| 005 | CART CORRAL |  |  | ● |  |  |  | INSTALL CART CORRAL(S) AT FRONT PARKING FIELD FOR PUNCH INSPECTION DATE. SEE SITE PLAN ON A0.0 FOR LOCATION. SEE F2.0 FOR SPEC AND REQUIRED VENDOR.
VESTIBULE 100 | 100A | WINDOW BLINDS |  |  | ● |  |  |  | SEE F2.0 FOR SPEC AND REQUIRED VENDOR.
| 100B | FIRE SAFETY PLAN |  |  | ● |  |  |  | SEE F2.0 FOR SPEC AND REQUIRED VENDOR.
| 100C | CART BUMPER |  |  | ● |  |  |  | SEE F2.0 FOR SPEC AND REQUIRED VENDOR.
SALES AREA 101 | 101A | TAG MACHINE | ● |  |  | ●
| 101B | LARGE AQUARIUMS DISPLAY | ● |  |  | ●
| 101C | 6' TANK DISPLAY | ● |  |  | ●
| 101D | PLANT DISPLAY FIXTURE | ● |  |  | ●
| 101E | BETTA FIXTURE | ● |  |  | ●
| 101F | REPTILE HABITAT | ● |  |  | ●
| 101G | REPTILE FEEDER FIXTURE | ● |  |  | ●
| 101H | SHO3 FIXTURE | ● |  |  | ●
| 101J | SMALL ANIMAL HABITAT | ● |  |  | ●
| 101K | BIRD HABITAT | ● |  |  | ●
| 101L | PET CLEANUP STATION (INTERIOR) | ●
| 101M | COOLER (NATURALS) | ● |  |  | ●
| 101N | FREEZER (NATURALS) | ● |  |  | ● |  |  | ONTARIO STORES ONLY TO RECEIVE 4 FREEZERS, 3 FOR ALL OTHERS.
| 101P | QUEUE LINE SHELVING | ●
| 101Q | MINI STEEL RACKING | ●
| 101R | SHELVING | ● |  |  | ● |  |  | SEE ELECTRICAL DRAWINGS FOR POWER DROPS AND DETAILS.
| 101S | N & J FIXTURE | ●
FRONT POS 102 | 102A | TERMINAL CABINET |  |  | ● | ● |  |  | ***** SEE GENERAL NOTES ABOVE
| 102B | SERVICES CABINET |  |  | ● | ● |  |  | ***** SEE GENERAL NOTES ABOVE
| 102C | BOPIS CABINET |  |  | ● | ● |  |  | ***** SEE GENERAL NOTES ABOVE
BOPIS CLOSET 103 | 103A | SHELVING | ●
MANAGER/ VAULT 104 | 104A | COUNTER |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 104B | SHELVING |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 104C | SAFE | ●
COMPUTER COPY 105 | 105A | IS RACK | ● |  |  | ●
| 105B | COUNTER |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 105C | SHELVING |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 105D | SHRED BIN | ●
ASSOCIATE RESOURCES 106 | 106A | VENDING MACHINE | ● |  |  | ●
| 106B | LOCKERS | ●
| 106C | STORAGE CABINET | ●
| 106D | SINK CABINET MILLWORK |  |  | ● | ● | ● | ● | ***** SEE GENERAL NOTES ABOVE
| 106E | REFRIGERATOR | ● |  |  | ● | ● | ● | PLUMBING REQUIRED FOR ICE/WATER DISPENSER IN ASSOCIATE RESOURCES ONLY.
PET TRAINING 107 | 107A | PET TRAINING PODIUM |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE (PAID FOR BY PETSMART)
| 107B | FENCE AND GATE |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 107C | TRAINING CABINET |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE (PAID FOR BY PETSMART)
HALL A 108 | 108A | STAINLESS STEEL SHELF |  |  | ● |  |  |  | SUPPLIED BY NATIONAL ACCOUNT PLUMBING VENDOR AS PART OF G.C. SCOPE.
| 108B | WATER FOUNTAIN |  |  | ● | ● | ● | ●
SALON CHECK-IN 113 | 113A | FENCE AND GATE |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
CHECK-IN | 113B | TERMINAL CABINET |  |  | ● | ● |  |  | ***** SEE GENERAL NOTES ABOVE
113 | 113C | SERVICES CABINET |  |  | ● | ● |  |  | ***** SEE GENERAL NOTES ABOVE
| 113D | BENCH | ●
SALON 114 | 114A | CUTTING STATIONS | ● | [5 empty] | ***** SEE GENERAL NOTES ABOVE
| 114B | MIRRORS |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 114C | CUTTING TABLES | ● |  |  | ●
| 114D | FLUFF DRYER | ● |  |  | ●
DRYING AREA 115 | 115A | FLUFF DRYER | ● |  |  | ●
| 115B | MASTER BLASTER DRYER | ● |  |  | ● |  |  | BRACKETS ONLY ARE SUPPLIED AND INSTALLED BY NATIONAL ACCOUNT MILLWORK VENDOR.
| 115C | ROLLING CAGES | ●
| 115D | STORAGE CABINET | ●
| 115E | DRYING TABLES | ●
BATHING AREA 116 | 116A | PROPORTIONER |  |  | ● |  | ● | ● | ***** SEE GENERAL NOTES ABOVE
| 116B | SHELVING |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 116C | TUBS | ● | [5 empty] | G.C. RESPONSIBLE FOR HARD PIPE WASTE CONNECTION IF REQUIRED BY CODE.
| 116D | EYE WASH | ● | [5 empty] | NO PLUMBING REQUIRED.
RECEIVING 117 | 117A | MOP SINK |  |  | ● |  | ● | ●
| 117B | CHEMICAL MIXING SYSTEM | ● | [5 empty] | G.C. RESPONSIBLE FOR BACKFLOW PREVENTER IF REQUIRED BY CODE.
| 117C | BATTERY CHARGER |  | ● |  | ● |  |  | BATTERY CHARGER SUPPLIED BY PETSMART AND INSTALLED BY G.C. AND E.C. UNIT ARRIVES THE WEEK BEFORE THE MILLWORK DATE AND MUST BE INSTALLED IMMEDIATELY.
| 117D | EYE WASH | ● | [5 empty] | NO PLUMBING REQUIRED.
| 117E | FLOOR SCRUBBER | ● |  |  | ● | ● |  | FLOOR DRAIN ONLY IS REQUIRED.
| 117F | RECEIVING AREA RACKING | ●
ADOPTIONS MEET & GREET 118 | 118A | BENCH | ●
| 118B | WIRE SHELF | ●
| 118C | ROLLING ADOPTIONS DESK |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE (PAID FOR BY PETSMART)
ADOPTIONS 119 | 119A | ADOPTION CAGES |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 119B | SINK CABINET |  |  | ● |  | ● | ● | ***** SEE GENERAL NOTES ABOVE
FISH PREP 120 | 120A | FISH REFRIGERATOR | ● |  |  | ●
| 120B | SHELVING |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 120C | STANLESS STEEL TABLE |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 120D | STAINLESS STEEL SHELF |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
| 120E | WATER FILTRATION SYSTEM | ● |  |  |  | ● | ●
| 120F | CHEMICAL MIXING SYSTEM | ● | [5 empty] | G.C. RESPONSIBLE FOR BACKFLOW PREVENTER IF REQUIRED BY CODE.
| 120G | EYE WASH | ● | [5 empty] | NO PLUMBING REQUIRED.
FISH EQUIPMENT 121 | 121A | BAG STATION |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE (PAID FOR BY PETSMART)
| 121B | FISH TANK DISPLAY | ● |  |  | ● |  |  | ANCHORED BY FISH EQUIPMENT SUPPLIER.
| 121C | FISH FREEZER | ● |  |  | ●
HOLDING #2 | 122A | SHELVING |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
122 | 122B | QUARANTINE CAGE |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE (PAID FOR BY PETSMART)
| 122C | HOLDING CAGE |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE (PAID FOR BY PETSMART)
HOLDING #1 | 123A | SHELVING |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE
123 | 123B | QUARANTINE CAGE |  |  | ● |  |  |  | ***** SEE GENERAL NOTES ABOVE (PAID FOR BY PETSMART)
| 123C | TANK | ●

## F2 MATERIAL AND PRODUCTS
CANADIAN NATIONAL ACCOUNT VENDOR LIST FORM VERSION 44 UPDATED 2.7.25
(FORM VERSION 44 UPDATED 2.7.25) MATERIAL & PRODUCT & NATIONAL VENDOR SCHEDULE |  |  |  |  | MATERIAL & PRODUCT & NATIONAL VENDOR SCHEDULE |  |  |  |  | MATERIAL & PRODUCT & NATIONAL VENDOR SCHEDULE
SPEC. SECTION & TITLE |  | MATERIAL | PRODUCT(S) | MANUFACTURER(S) OR REQUIRED VENDOR (NO EXCEPTIONS) | SPEC. SECTION & TITLE |  | MATERIAL | PRODUCT(S) | MANUFACTURER(S) OR REQUIRED VENDOR (NO EXCEPTIONS) | SPEC. SECTION & TITLE |  | MATERIAL | PRODUCT(S) | MANUFACTURER(S) OR REQUIRED VENDOR (NO EXCEPTIONS)
03331 - | POLISHED CONCRETE | GRINDING, POLISHING, DENSIFIER, | PER SPECIFICATIONS & | BNE CONTRACTORS INC. | 08411 - | ALUMINUM FRAMED | EXTERIOR ALUMINUM | FG 3000 | VISTAWALL | 12000 - | FURNISHINGS | CART BUMPER (FLOOR MOUNTED | CB CART BUMPER ASSEMBLY - | ALVARADO MANUFACTURING CO.
| FLOOR SYSTEM | & STAIN GUARD | SHEET A2.0 | 440 SHELDON DRIVE |  | ENTRANCES AND | STOREFRONT FRAMING |  |  |  |  | SHOPPING CART GUARD) | CHROME PLATED RAIL, ZINC PLATED | (CART BUMPERS)
|  |  |  | CAMBRIDGE, ON N1T 2C1 |  | STOREFRONTS | [6 empty] | SPRING POST. UNIT HEIGHT: 7-1/2" | 12660 COLONY ST.
|  |  |  | PRIMARY CONTACT: CHRIS HENDERSON |  |  | INTERIOR ALUMINUM DOORS | 35D SERIES MEDIUM STILE | UNIFIED DOOR AND HARDWARE |  |  |  | UNIT LENGTHS: 2', 3', 4', 5', 6' | CHINO, CA 91710
|  |  |  | P. (519) 743-7324 EXT. 122 |  |  |  |  | 14400 COLLEGE BLVD. SUITE 100 |  |  |  | UNIT DEPTH: 4-3/4" | PRIMARY CONTACT: SUE THEISING
|  |  |  | C. (519) 465-2562 |  |  | INTERIOR ALUMINUM DOORS | 500 SERIES WIDE STILE (USED ONLY | LENEXA, KS 66215 |  |  |  |  | P. (909) 591-8431 EXT. 321
|  |  |  | CHRIS@BNECONTRACTORS.COM |  |  |  | WHEN DOORS REQUIRE KEYPAD | PRIMARY CONTACT: TERRY SIEGRIST |  |  | POST & RAIL (FLOOR MOUNTED | VOGUE MODULAR POST & RAIL - | STHEISING@ALVARADOMFG.COM
04810 - | REINFORCED CONCRETE | INTEGRAL WATER REPELLENT | DRY-BLOCK | W.R. GRACE & CO. |  |  |  | PER HARDWARE GROUP) | P. (717) 522-7003 |  |  | SHOPPING CART QUEUING FENCE) | CHROME PLATED POSTS AND RAILS. | SECONDARY CONTACT: DALE STATON
| MASONRY | ADMIXTURE |  |  |  |  | INTERIOR ALUMINUM WINDOWS | 300 SERIES CLEAR ANODIZED | C. (717) 286-4023 |  |  |  | DOUBLE RAIL CONFIGURATION. POST | P. (909) 591-8431 EXT. 330
05210 - | STRUCTURAL STEEL |  | PER SPECIFICATIONS & | CANAM GROUP INC. |  |  | & DOOR FRAMES | W/ KD FRAME & 304RM TRIM | PETSMART@AMERICANDIRECTCO.COM |  |  |  | HEIGHT: 35". | C. (760) 964-2586
|  |  | STRUCTURAL SHEETS | 1739 DREW ROAD |  |  |  |  | SECONDARY CONTACT:CHERILYN HOSTETLER |  |  |  |  | DSTATON@ALVARADOMFG.COM
05310 - | METAL ROOF DECK |  |  | MISSISSAUGA, ON L5S 1J5 |  |  |  |  | C. (717) 522-7008 |  |  | PARKING LOT SHOPPING CART | GALVANIZED PIPE CART CORRAL(S) | NATIONAL CART CO. INC.
|  |  |  | PRIMARY CONTACT: MIKE HOLLLERAN |  |  |  |  | CHERILYNH@AMERICANDIRECTCO.COM |  |  | CONTAINMENT | #600-10 | (CART CORRALS IN PARKING AREAS)
|  |  |  | P. (905) 671-3460 |  |  |  |  | PETSMART@AMERICANDIRECTCO.COM |  |  |  |  | 3125 BOSCHERTOWN RD.
|  |  |  | C. (647) 225-9508 | [9 empty] | ST. CHARLES, MO 63301
|  |  |  | MICHAEL.HOLLERAN@CANAMGROUPINC.COM | 08461 - | SLIDING AUTOMATIC | AUTOMATIC SLIDING DOORS AND | MODEL #SL500 | ASSA ABLOY ENTRANCE SYSTEMS INC |  |  |  |  | PRIMARY CONTACT: DENISE MOORE
|  |  |  | SECONDARY CONTACT: BOB BELLIVEAU |  | ENTRANCE DOORS | CONTROLS |  | 4020B SLADEVIEW CRESCENT, UNITS 3&4 |  |  |  |  | P. (636) 947-3800 EXT. 134
|  |  |  | P. (506) 857-3164 |  |  |  | EXTERIOR DOORS W/ TRANSOM & | MISSISSAUGA, ON L5L 6B1 |  |  |  |  | DENISE.MOORE@NATIONALCART.COM
|  |  |  | C. (506) 851-9933 |  |  |  | PREPPED FOR 1" INSULATED GLASS | PRIMARY CONTACT: FAHIM UMAID |  |  | FIRE ALARM SAFETY PLAN BOX | MODEL #FSPB-1 | ROHEN FIRE PROTECTION LTD.
|  |  |  | ROBERT.BELLIVEAU@CANAMGROUPINC.COM |  |  |  |  | P. (905) 569-5221 |  |  | (WALL MOUNTED) | (VESTIBULE) | (FIRE SAFETY PLAN AND BOX)
06402 - | INTERIOR ARCHITECTURAL | ARCHITECTURAL WOODWORK & | PER SPECIFICATIONS & | ADVANCED FIXTURES INC. (AFI) |  |  |  |  | C. (416) 452-7447 |  |  |  |  | 20 VENTURE DRIVE UNIT 8
| WOODWORK | CASEWORK | ARCHITECTURAL SHEETS | 2655 E. AUDIE MURPHY PKWY. |  |  |  |  | FAHIM.UMAID@ASSAABLOY.COM |  |  |  |  | SCARBOROUGH, ON M1B 3R7
09721 - | WALL PANEL COVERING | WALL PANEL COVERING SYSTEM | GC TO CONFIRM MANUFACTURERS | FARMERSVILLE, TX 75442 | [9 empty] | PRIMARY CONTACT: WES JASPER
| (FRP) |  | INSTALLATION INSTRUCTIONS | PRIMARY CONTACT: JACKSON BROOKS | [9 empty] | P. (416) 291-8127
|  |  | (NO EXCEPTIONS) | P. (972) 784-8800 EXT. 235 | [9 empty] | WESJASPER@ROHENFIRE.CA
|  |  |  | C. (865) 696-4586 | 08800 - | GLAZING | 1" INSUL. EXT. TEMPERED | SOLARGRAY + SOLARBAN | PPG INDUSTRIES |  |  | SOLAR WINDOW SHADES | PHIFER SHEERWEAVE STYLE 4100 | ROLL-A-SHADE INC.
|  |  |  | JBROOKS@ADVANCEDFIXTURES.COM |  |  | PERFORMANCE GLASS | (60) C (CLEAR) |  |  |  |  | (10% OPEN WEAVE) COLOR: U62 | (WINDOW SHADES: SOLAR & GRAPHIC)
|  |  |  | PETSMARTPJM@ADVANCEDFIXTURES.COM | [8 empty] | ECO/GRANITE. INTERNAL HEMBAR, | 12101 MADERA WAY
07210 - | BUILDING INSULATION | PERIMETER INSULATION | STYROFOAM SM | THE DOW CHEMICAL CO. |  |  | 1/4" INT. GLASS (TEMPERED | SINGLE PANE | PPG INDUSTRIES |  |  |  | WHITE STANDARD BRACKETS, | RIVERSIDE, CA 92503
|  | BLANKET INSULATION | FSK-25 | JOHNS MANVILLE | 09260 - | GYPSUM BOARD | GYPSUM WALLBOARD |  | U.S.G. INTERIORS OR GEORGIA PACIFIC |  |  |  | WHITE CLUTCHES W/SS CHAIN, | PRIMARY CONTACT: MATT MATA
|  |  | FSK-25 | OWENS CORNING FIBERGLASS CO. |  | ASSEMBLIES | [6 empty] | GREY COLORED CHILD SAFETY | P. (951) 946-5269
|  |  | THERMAFIBER | U.S.G. INTERIORS |  |  | METAL STUD FRAMING | PER SHEET A9.0 | U.S.G. INTERIORS |  |  |  | TENSION DEVICE | MATTHEW.MATA@ROLLASHADE.COM
[7 empty] | SOUND ATTENUATION INSULATION | TYPE 1 | U.S.G. INTERIORS |  |  | SOLAR WINDOW SHADES WITH | SAME AS ABOVE, EXCEPT THE | ESTIMATES@ROLLASHADE.COM
|  | SAFING INSULATION | THERMAFIBER MINERAL FIBER | U.S.G. INTERIORS |  |  | WATER RESISTANT INTERIOR PANEL | DENSARMOUR PLUS | GEORGIA PACIFIC |  |  | GRAPHICS | COLOR IS TO BE U58 CHALK
|  | SOUND ATTENUATION INSULATION | TYPE 1 | U.S.G. INTERIORS | 09310 - | CERAMIC TILE | WALL CERAMIC TILE | PER SHEET A7.0 & ALL | DALTILE |  |  |  | (USED IN PETSHOTEL ONLY U.N.O.)
|  | ACOUSTICAL SEALANT | ACOUSTICAL SEALANT | U.S.G. INTERIORS |  |  |  | ELEVATION SHEETS | 7834 C. F. HAWN FREEWAY
07240 - | EXTERIOR INSULATION | EXTERIOR INSULATION FINISH | STO-THERM ESSENCE NEXT - | STO CORP. |  |  | MORTAR | PER SHEET A7.0 | DALLAS, TX 75217 |  |  | BATTERY CHARGER | PER SHEET E2.2 | SUPPLIED BY PETSMART
| AND FINISH SYSTEM | SYSTEMS | 7 YEAR WARRANTY | [5 empty] | PRIMARY CONTACT: JENNA LASSEN
|  | DRAINAGE SYSTEM | OUTSULATION PLUS MD SYSTEM - | DRYVIT |  |  | GROUT | PER SHEET A7.0 | C. (480) 818-2269 |  |  | ASH/TRASH CAN | BARLETTA DOME TOPS-WITH ASHTRAY | JANISAN INC.
|  |  | 7 YEAR WARRANTY | [5 empty] | JENNA.LASSEN@DALTILE.COM |  |  |  | GRAY (PRDT24GRAAT) | PO BOX 160332
|  |  | PAREX STANDARD WATERMASTER | PAREX E.F.I.S. |  |  | FINISHING & EDGE PROTECTION | PER SHEET A7.0 | NATIONAL.ACCOUNTS@DALTILE.COM |  |  |  | BARLETTA DOME TOPS-WITH ASHTRAY | CLEARFIELD, UT 84016
|  |  | SYSTEM - 7 YEAR WARRANTY | [5 empty] | SECONDARY CONTACT: |  |  |  | BEIGE (PRDT24BEIAT) | PRIMARY CONTACT: THUVAN ZIMMER
07540 - | MEMBRANE ROOFING | SINGLE PLY MEMBRANE | SURE WELD MECHANICALLY | CARLISLE SYNTEC INC. |  |  |  |  | C. ( ) |  |  |  |  | P. (801) 444-3446
| SYSTEM | ROOF SYSTEM | FASTENED | PO BOX 700 | [9 empty] | TZIMMER@JANISAN.COM
|  |  |  | CARLISLE, PA 17013 | 9650 - | WALL BASE | RUBBER COVE BASE | PER SHEET A7.0 | JOHNSONITE | 15105 - | PLUMBING | PLUMBING FIXTURES & | PER SPECIFICATIONS & | HAINES, JONES & CADBURY CANADA (HJC)
|  |  |  | PRIMARY CONTACT: JANIAL MACK | [7 empty] | EQUIPMENT | PLUMBING SHEETS | 4500 BLAKIE RD., UNIT 130
|  |  |  | P. (717) 245-7393 | [9 empty] | LONDON, ON N6L 1G5
|  |  |  | F. (404) 661-3917 | 09511 - | ACOUSTICAL PANEL | LAY-IN CEILING PANEL | PER SHEETS A3.0 & A3.1 | U.S.G. INTERIORS | 10155 - | TOILET COMPARTMENTS | TOILET COMPARTMENTS & | FLUSHMETAL PARTITIONS - SERIES 400 | PRIMARY CONTACT: LORNA MACDOUGALL
|  |  |  | JANIAL.MACK@SYNTEC.CARLISLE.COM |  | CEILINGS | VINYL COATED LAY-IN CEILING | PER SHEETS A3.0 & A3.1 | U.S.G. INTERIORS |  |  | URINAL SCREENS | FLOOR MOUNTED, OVERHEAD BRACED | P. (866) 256-3885 EXT. 5979
07842 - | FIRE RESISTIVE JOINT | FIRE RETARDANT SEALANT | FIRE BARRIER PENETRATING SEALING | 3M (LOCAL DISTRIBUTOR IS CRB SUPPLY, INC., |  |  | PANEL (BATHING AREA) | [5 empty] | FACTORY FINISHED ENAMEL - #2125 | LORNA.MACDOUGALL@HJCCORP.CA
| SYSTEM SEALANT |  | SYSTEM | PHOENIX, AZ P. (602) 271-0180 |  |  | FIBERGLASS LAY IN CEILING | PER SHEETS A3.0 & A3.1 | CERTAINTEED |  |  |  | DOVE GRAY. URINAL SCREEN | PETSMART@HJCCORP.CA
07920 - | JOINTS SEALANTS | RESTROOM SEALANT | SILICONE BASE, TYPE II, CLASS A | DOW CORNING OR GE |  |  | PANEL (DRYING AREA) | [5 empty] | SUPPORT POST TO BE FULL HEIGHT | SECONDARY CONTACT: DAVID SOANES
|  | WET AREAS (BATHING, DRYING, | PREMIUM GRADE HIGH PERFORMANCE |  |  |  | SUSPENSION SYSTEM | SERIES DX | U.S.G. DONN BRAND |  |  |  | FROM FLOOR TO CEILING. | P. (866) 256-3885 EXT. 5963
|  | RECEIVING) | POLYURETHANE BASED SEALANT - | SIKA |  |  | SUSPENSION SYSTEM | 15/16" CLASSIC STAB | CERTAINTEED |  |  |  |  | DAVID.SOANES@HJCCORP.CA
|  |  | SIKAFLEX 1A |  |  |  | (DRYING AREA)
08110 - | HOLLOW METAL DOORS | HOLLOW METAL DOORS & | PER SPECIFICATIONS & | COOK AND BOARDMAN | 09910 - | PAINTING | PAINTING | PER SHEETS A3.0, A3.1, A4.0, | PPG PAINTS | 15204 - | HEATING, VENTILATION, | MECHANICAL EQUIPMENT | PER SPECIFICATIONS & | LENNOX INTERNATIONAL
| AND FRAMES | FRAMES | SHEET A6.0 | 345 MASON RD. |  |  |  | A7.0 | 1100 ARLINGTON CT. |  | AIR CONDITIONING |  | MECHANICAL SHEETS | 2140 LAKE PARK BLVD.
08111 - | PRE-FINISHED FRAMES | INTERIOR PRE-FORMED METAL | PER SPECIFICATIONS & | LA VERGNE, TN 37086 |  |  |  |  | INDIANAPOLIS, IN 46280 |  |  |  |  | RICHARDSON, TX 75080-2254
|  | DOOR FRAMES | SHEET A6.0 | PRIMARY CONTACT: TAMMY WILLIAMS |  |  |  |  | PRIMARY CONTACT: RICK GARLIN |  |  |  |  | PRIMARY CONTACT: JANE GUNTER
08210 - | WOOD DOORS | WOOD DOORS & RELATED ITEMS | PER SPECIFICATIONS & | P. (615) 903-9036 |  |  |  |  | C. (317) 318-5800 |  |  |  |  | P. (972) 497-6869
|  |  | SHEET A6.0 | PETSMART@COOKANDBOARDMAN.COM |  |  |  |  | GARLIN@PPG.COM |  |  |  |  | JANE.GUNTER@LENNOXIND.COM
08710 - | FINISH HARDWARE | DOOR HARDWARE | PER SPECIFICATIONS & | TWILLIAMS@COOKANDBOARDMAN.COM | 10285 - | IMPACT RESISTANT | WALL GUARD BUMPERS | SALES AREAS: FR270 #410 | CONSTRUCTION SPECIALTIES |  |  |  |  | PETSMART@LENNOXIND.COM
|  |  | SHEET A6.0 | SECONDARY CONTACT: KEVIN JOHNSON |  | WALL PROTECTION |  | BRUSHED SILVER | 4005 ROYAL DR., SUITE 300 |  |  |  |  | SECONDARY CONTACT: ADRIAN SOSA
|  |  |  | P. (615) 964-6000 EXT. 4521 |  |  | CORNER GUARDS | FRP CORNER GUARD TYPE | KENNESAW, GA 30144 |  |  |  |  | P. (949) 439-7847
|  |  |  | PETSMART@COOKANDBOARDMAN.COM |  |  |  | SSM-20ASAM, #410 BRUSHED | PRIMARY CONTACT: BRYAN PETERSON |  |  |  |  | ADRIAN.SOSA@LENNOXIND.COM
|  |  |  | KJOHNSON@COOKANDBOARDMAN.COM |  |  |  | SILVER | P. (425) 229-3479 |  |  |  |  | TECHNICAL SUPPORT: (800) 367-6285
[7 empty] | CRASH RAIL | FRP CRASH RAIL SCR-48MSAM, | BRPETERSON@C-SGROUP.COM |  |  |  |  | APPLICATION SUPPORT: (888) 595-4962
|  | RODENT RESISTANT DOOR | PER SPECIFICATIONS & | GMT / XCLUDER |  |  |  | #410 BRUSHED SILVER WITH COLOR | NATIONALACCOUNTS@C-SGROUP.COM |  |  | HVAC TEST & BALANCE | PER SPECIFICATIONS & | DYNAMIC FLOW BALANCING
|  | SWEEPS | SHEET A6.0 | 750 W. LAKE COOK RD., SUITE 480 |  |  |  | MATCHED ADJUSTABLE END CAPS | CUSTOMERCAREORDERS@C-SGROUP.COM |  |  |  | MECHANICAL SHEETS | 1200 SPEERS ROAD, UNIT 36
|  |  |  | BUFFALO GROVE, IL 60089 | 10800 - | TOILET AND BATH | TOILET PAPER DISPENSER | ITEM NO. 850187 KLEENLINE | BRADY PLUS |  |  |  |  | OAKVILLE, ON L6L 2X4
|  |  |  | PRIMARY CONTACT: BEN CHANNON |  | ACCESSORIES |  | UNIVERSAL JUMBO SINGLE ROLE | 2400 SULLIVAN ROAD |  |  |  |  | PRIMARY CONTACT: STEVEN MOLNAR
|  |  |  | P. (847) 495-4700 EXT. 1184 |  |  |  | TISSUE DISPENSER. CORE: 3" WITH | COLLEGE PARK, GA 30337 |  |  |  |  | P. (905) 338-0808
|  |  |  | C. (847) 269-4005 |  |  |  | ADAPTER CONE. COLOR: BLACK | PRIMARY CONTACT: JENNIFER WATTS |  |  |  |  | C. (905) 510-9875
|  |  |  | BENC@GMT-INC.COM |  |  |  |  | P. (800) 858-7230 EXT. 3907 |  |  |  |  | STEVEN@DYNAMICFLOWBALANCING.COM
08310 - | IMPACT DOORS | IMPACT DOORS AND HARDWARE | PER SPECIFICATIONS & | SENNECA HOLDINGS (ELIASON) |  |  | PAPER TOWEL DISPENSER | ITEM NO. 850185 KLEENLINE HANDS | JENNIFER.WATTS@BRADYPLUS.COM |  |  |  |  | QUOTES@DYNAMICFLOWBALANCING.COM
|  |  | SHEET A6.0 | 11502 CENTURY BLVD. |  |  |  | FREE UNIVERSAL ROLL DISPENSER. | SECONDARY CONTACT: DEAN PARHAM | 16000 - | BUILDING AUTOMATION & | AUTOMATION AND TEMPERATURE | PER SPECIFICATIONS & | NEXREV
|  |  |  | CINCINNATI, OH 45246 |  |  |  | CORE: 1.5"-2". COLOR: BLACK. | C. (404) 862-9288 |  | AUTOMATIC TEMPERATURE | CONTROL SYSTEMS EQUIPMENT | ELECTRICAL SHEETS | 601 DEVELOPMENT DRIVE
|  |  |  | PRIMARY CONTACT: GLEN OLTMANNS |  |  |  | (ALL RESTROOMS, HOLDING ROOMS, | DEAN.PARHAM@BRADYPLUS.COM |  | CONTROL SYSTEMS |  |  | PLANO, TX 75074
|  |  |  | P. (714) 402-6265 |  |  |  | FISH PREP, ADOPTIONS, ASSOCIATE | [5 empty] | PRIMARY CONTACT: CRAIG DAVIS
|  |  |  | GOLTMANNS@SENNECA.COM |  |  |  | RESOURCES) | ALL DISPENSERS FROM BRADY PLUS ARE PRE-PURCHASED BY PETSMART. GC IS TO REQUEST AN ORDER FORM FROM BRADY PLUS, PROVIDE THE QUANTITIES NEEDED, AND PROVIDE THE DATE WHEN NEEDED. |  |  |  |  | P. (972) 303-8586
08311 - | ACCESS DOORS AND | METAL ACCESS DOOR & | KRVB, KDW, DSC-214PL & DSC-214M | KARP ASSOCIATES, MASPETH | [9 empty] | C. (720) 384-9698
| FRAMES | RELATED ITEMS |  | N.Y. EQUAL BY BILCO |  |  | CENTER PULL PAPER TOWEL | ITEM NO. 855164 GEORGIA PACIFIC | [5 empty] | CRAIGDAVIS@NEXREV.COM
08363 - | SECTIONAL OVERHEAD | SECTIONAL OVERHEAD DOOR | SECTIONAL 592 SERIES | BLUE GIANT CORP |  |  | DISPENSER | CENTERPULL TOWEL DISPENSER. | [5 empty] | PETSMART@NEXREV.COM
| DOORS |  |  | 410 ADMIRAL BLVD. |  |  |  | COLOR: BLACK | [5 empty] | SECONDARY CONTACT: BARB RYAN
|  |  |  | MISSISSAUGA, ON L5T 2N6 |  |  |  | (ALL PET CLEANUP STATIONS) | [5 empty] | P. (972) 303-8530
11160 - | LOADING DOCK EQUIPMENT | VERTICAL DOCK LEVELER - | BLUE GIANT - V7006H | PRIMARY CONTACT: ROSS TRIMBLE | [9 empty] | C. (214) 218-0561
|  | HYDRAULIC |  | P. (905) 457-3900 |  |  | TOILET SEAT COVER DISPENSER | ITEM NO. HG-1-2 HOSPECO (BLACK) | [5 empty] | BARBRYAN@NEXREV.COM
|  | DOCK BUMPERS | BLUE GIANT - DB512 | C. (647) 325-0761 | [9 empty] | TECHNICAL SUPPORT
|  | WHEEL CHOCK SAFETY KIT | BLUE GIANT - | RTRIMBLE@BLUEGIANT.COM |  |  | SOAP DISPENSER | ITEM NO. D1224700 (BLACK) | ODP BUSINESS SOULTIONS - CANADA |  |  |  |  | P. (866) 601-5520
|  | (CHOCK & SIGN) | 038-21E/720-5000/090-486-1 | SECONDARY CONTACT: CHRIS WANG |  |  |  | FOAM DISPENSER 1250 ML | 200 AVIVA PARK DRIVE | 16400 - | SERVICE & DISTRIBUTION | SERVICE EQUIPMENT & | PER SPECIFICATIONS & | VILLA LIGHTING
|  | DOCK SEALS | BLUE GIANT - BG100V-22 | P. (905) 457-3900 EXT. 5382 |  |  |  | (ALL RESTROOMS, HOLDING ROOMS, | VAUGHN, ON L4L 9C7 |  |  | DISTRIBUTION SWITCHGEAR | ELECTRICAL SHEETS | 2929 CHOTEAU AVE.
|  | CONTROL BOX | BLUE GIANT - SP1 | C. (416) 989-6294 |  |  |  | FISH PREP, ADOPTIONS, ASSOCIATE | PRIMARY CONTACT: NATALIE BURTON |  |  |  |  | ST. LOUIS, MO 63103
|  | TRACK GUARDS | BLUE GIANT | CWANG@BLUEGIANT.COM |  |  |  | RESOURCES) | P. (514) 600-2241 |  |  |  |  | PRIMARY CONTACT: MELISSA BERRY
|  | PIT MOUNTED SCISSOR LIFT | BLUE GIANT - DL12-72X96-14 | [5 empty] | C. (437) 339-7657 |  |  |  |  | P. (314) 633-0414
|  | (AS APPLICABLE ONLY) |  |  |  |  | HAND SANITIZER DISPENSER | ITEM NO. D1224700 (BLACK) | NATALIEBURTON@GRANDANDTOY.COM |  |  |  |  | MELISSA.BERRY@VILLALIGHTING.COM
|  | SURFACE MOUNTED SCISSOR LIFT | SERCO - MODEL #SDL68-8 |  |  |  |  | (ALL RESTROOMS, HOLDING ROOMS, | SECONDARY CONTACT: ERICA KOCIJANCIC |  |  |  |  | PETSMART@VILLALIGHTING.COM
|  | (AS APPLICABLE ONLY) | [5 empty] | FISH PREP, ADOPTIONS, ASSOCIATE | C. (647) 631-5196 |  |  |  |  | SECONDARY CONTACT: JEFF PLASKON
[8 empty] | RESOURCES, SALON, DRYING AREA) | ERICAKOCIJANCIC@GRANDANDTOY.COM |  |  |  |  | C. (216) 338-2396
[13 empty] | CONTRACTOR MAY RECEIVE QUOTES FROM ONE OR BOTH VENDORS. | JEFF.PLASKON@VILLALIGHTING.COM
ALL DISPENSERS FROM ODP ARE PRE-PURCHASED BY PETSMART. GC IS TO REQUEST AN ORDER FORM FROM ODP, PROVIDE THE QUANTITIES NEEDED, AND PROVIDE THE DATE WHEN NEEDED.
DOVER FOOD RETAIL (HILL PHOENIX)
2016 GEES MILL ROAD
CONYERS, GA 30013
PRIMARY CONTACT: KRISTY PITCHFORD
[7 empty] | MIRROR | B-293 BOBRICK 18" x 36" | HAINES, JONES & CADBURY CANADA (HJC) |  |  |  |  | P. (770) 285-3218
[8 empty] | TILT MIRROR | 4500 BLAKIE RD., UNIT 130 |  |  |  |  | KPITCHFORD@DOVERFOODRETAIL.COM
[7 empty] | SANITARY NAPKIN DISPOSAL | B-270 BOBRICK STAINLESS STEEL - | LONDON, ON N6L 1G5 |  |  |  |  | DFR-EDP-PETSMART@DOVERFOODRETAIL.COM
[8 empty] | (SURFACE MOUNTED) | PRIMARY CONTACT: LORNA MACDOUGALL |  |  |  |  | SECONDARY CONTACT: SCOTTY MAY
[7 empty] | GRAB BAR - | 832-57 BOBRICK 30" x 30" | P. (866) 256-3885 EXT. 5979 |  |  |  |  | C. (770) 285-3248
[7 empty] | HORIZONTAL/VERTICAL (L-SHAPE) |  | LORNA.MACDOUGALL@HJCCORP.CA |  |  |  |  | SMAY@DOVERFOODRETAIL.COM
[7 empty] | GRAB BAR - HORIZONTAL | B-5806-24 BOBRICK 24" | PETSMART@HJCCORP.CA | 16500 - | LIGHTING | LIGHT FIXTURES, RECEPTACLES, | PER SPECIFICATIONS & | GRAYBAR CANADA
[8 empty] | (REAR WALL ABOVE WC) | SECONDARY CONTACT: DAVID SOANES |  |  | DELIVERY BUZZERS AND HORNS, | ELECTRICAL SHEETS | 7245 HIGHWAY 50, UNIT 1
[7 empty] | GRAB BAR ANCHORS | SERIES 256 E1 BOBRICK | P. (866) 256-3885 EXT. 5963 |  |  | GENERATOR SLEEVE, COVER |  | VAUGHAN, ON L4H 4P9
[8 empty] | (SUIT FASTENERS TO WALL TYPE) | C. (519) 639-0325 |  |  | PLATES, BIRD DETERRENT |  | PRIMARY CONTACT: LOUIE GOZIOTIS
[7 empty] | BABY CHANGING SHELF | KOALA BEAR KARE HORIZONTAL | DAVID.SOANES@HJCCORP.CA |  |  | SYSTEM, TIMER SWITCHES, & |  | P. (905) 264-4825
[8 empty] | DESIGN MODEL #KB300-01 GREY |  |  |  | OTHER MISC. ELECTRICAL ITEMS |  | C. (416) 540-1281
[7 empty] | CLOTHES HOOK AND BUMPER | B-233 BOBRICK STAINLESS STEEL WITH | [5 empty] | LGOZIOTIS@GRAYBARCANADA.COM
[8 empty] | SATIN FINISH | [5 empty] | VA-PETSMART@GRAYBARCANADA.COM
[7 empty] | STAINLESS STEEL SHELF | FROST 950-4x18 STAINLESS STEEL |  | 16720 - | ALARM SYSTEM | FIRE ALARM & SECURITY ALARM | PER SPECIFICATIONS & | ADT COMMERCIAL
[8 empty] | SHELF WITH BRUSHED FINISH. |  |  |  | EQUIPMENT. | ELECTRICAL SHEETS | 105 YAMATO RD.
[8 empty] | (ALL RESTROOMS AND ABOVE EWC) | [5 empty] | BOCA RATON, FL 33431
PRIMARY CONTACT: PETER CIAPPETTA
C. (954) 235-9411
PCIAPPETTA@ADT.COM
PETSMARTCONSTRUCTION@ADT.COM
SECONDARY CONTACT: RICHARD BONGERS
25809 BUSINESS CENTER DRIVE, SUITE F
REDLANDS, CA 92374
C. (714) 287-2684
RBONGERS@ADT.COM

## A6.0 DOOR SCHEDULE
DOOR SCHEDULE
MARK | DOOR | [6 empty] | FRAME |  |  |  |  | HARDWARE GROUP | DETAILS |  |  | MARK | LOCATION | REMARKS
| SIZE | [6 empty] | PROFILE | [5 empty] | HEAD | JAMB | SILL
| WIDTH | HEIGHT | THKN. | TYPE | MATERIAL | FINISH | COLOUR | HEAD | JAMB | MATERIAL | FINISH | COLOUR
100A | 12'-0" | 7'-7" | -- | 1A | ALUM./GLASS | PREFINISHED | CLEAR | -- | -- | ALUM. | ANODIZED | CLEAR | 1 | 5/A6.1 | 2/A6.1 | 11/A6.0 | 100A | VESTIBULE | 7" CLEAR ANODIZED ALUMINUM THRESHOLD ACROSS ENTIRE WIDTH OF DOOR.
100B | 12'-0" | 7'-7" | -- | 1B | ALUM./GLASS | PREFINISHED | CLEAR | -- | -- | ALUM. | ANODIZED | CLEAR | 1 | 9/A6.1 | 6 & 7/A6.1 | -- | 100B | VESTIBULE | NO THRESHOLD -NO BRUSHES ON ACTIVE PANELS
102 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 102 | -- | NOT USED
103 | 5'-0" OPN. | 7'-0" OPN. | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 11/A6.1 | 9B/A6.0 | -- | 103 | BOPIS
104 | 3'-2" | 7'-0" | 1 3/4" | 6A | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 3 | 2A/A6.0 | 2B/A6.0 | -- | 104 | MGR./VAULT | 1" UNDERCUT DOOR
105 | 3'-2" | 7'-0" | 1 3/4" | 6B | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 8 | 2A/A6.0 | 2B/A6.0 | -- | 105 | COMP./COPY | 1" UNDERCUT DOOR
106 | 3'-2" | 7'-0" | 1 3/4" | 6D | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 15 | 2A/A6.0 | 2B/A6.0 | -- | 106 | ASSOC. RES.
107 | 3'-2" | 3'-6" | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 107 | PET TRAINING | DECORATIVE GATE SUPPLIED WITH FENCE AND INSTALLED BY NATIONAL ACCOUNT MILLWORK VENDOR
108A | 3'-2" | 7'-0" | 1 3/4" | 3 | INS. H.M. | PAINT | P6 (COMMERCIAL WHITE) | 4" | 2" | H.M. | PAINT | MATCH WALL | 13 | 7A/A6.0 | 7B/A6.0 | 8/A6.0 | 108A | HALL A | INSTALL "XCLUDER" SILL & JAMB SEALS. OBTAIN FROM XCLUDER NATIONAL VENDOR.
EXTERIOR PAINT COLOR TO MATCH CMU PAINT COLOR
108B | 4'-10" OPN. | 8'-0" OPN. | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 11/A6.1 | 9B/A6.0 | -- | 108B | HALL A
109 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 109 | -- | NOT USED
110 | 3'-2" | 7'-0" | 1 3/4" | 6D | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 10 | 2A/A6.0 | 2B/A6.0 | -- | 110 | UNISEX WASH. | --
111 | 3'-2" | 7'-0" | 1 3/4" | 6D | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 12 | 2A/A6.0 | 2B/A6.0 | -- | 111 | UNIVER. WASH | --
113A | 3'-2" | 3'-6" | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 113A | SALON CHECK-IN | DECORATIVE GATE SUPPLIED WITH FENCE AND INSTALLED BY NATIONAL ACCOUNT MILLWORK VENDOR
113B | 3'-2" | 3'-6" | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 113B | SALON COUNTER | MILLWORK GATE SUPPLIED AND INSTALLED BY NATIONAL ACCOUNT MILLWORK VENDOR
114 | 3'-2" | 7'-0" | 1 3/4" | 5 | ALUM./GLASS | PREFINISHED | CLEAR | 2" | 2" | ALUM. | ANODIZED | CLEAR | 5 | 3B/A6.0 | 3B/A6.0 | -- | 114 | SALON | NO THRESHOLD, LOCATE CLOSER ON ROOM SIDE OF DOOR.
115A | 3'-2" | 7'-0" | 1 3/4" | 5 | ALUM./GLASS | PREFINISHED | CLEAR | 2" | 2" | ALUM. | ANODIZED | CLEAR | 5 | 3B/A6.0 | 3B/A6.0 | -- | 115A | DRYING AREA | NO THRESHOLD, LOCATE CLOSER ON ROOM SIDE OF DOOR.
115B | 3'-2" | 7'-0" | 1 1/2" | 4A | ABS-PLASTIC | PREFINISHED | CLOUD GRAY | -- | -- | METAL | PREFINISHED | GRAY | 2 | 6/A6.0 | 6/A6.0 | -- | 115B | DRYING AREA | IMPACT DOOR (CHANNEL FRAME)
116 | 4'-0" OPN. | 7'-0" OPN. | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 9A/A6.0 | 9B/A6.0 | -- | 116 | BATHING | WRAP PLASTIC PANELS AT HEAD & JAMB -SEE INTERIOR ELEVATIONS
117A | PR. 3'-0" | 8'-0" | 1 1/2" | 4B | ABS-PLASTIC | PREFINISHED | CLOUD GRAY | -- | -- | METAL | PREFINISHED | GRAY | 2 | 5/A6.0 | 5/A6.0 |  | 117A | RECEIVING | IMPACT DOOR WITH BUMPER (CHANNEL FRAME)
117B | PR. 3'-0" | 8'-0" | 1 3/4" | 3 | INS. H.M. | PAINT | P5 (DOVER GRAY) | 4" | 2" | H.M. | PAINT | MATCH WALL | 7 | 7A/A6.0 | 7B/A6.0 | 8/A6.0 | 117B | RECEIVING | INSTALL "XCLUDER" SILL, JAMB & ASTRAGAL SEALS. OBTAIN FROM XCLUDER NATIONAL VENDOR. EXTERIOR PAINT TO MATCH WALL.
117C | 8'-0" | 10'-0" | -- | 2 | METAL | PREFINISHED | WHITE | -- | -- | STEEL | PAINT | MATCH WALL | 11 | 3/A11.0 | 4/A6.0 | -- | 117C | RECEIVING | VERTICAL LIFT, CHAIN PULL TO BE LOCATED ON RIGHT SIDE, INSTALL "XCLUDER" SILL & JAMB SEALS. OBTAIN FROM XCLUDER NATIONAL VENDOR.
118 | 3'-2" | 7'-0" | 1 3/4" | 5 | ALUM./GLASS | PREFINISHED | CLEAR | 2" | 2" | ALUM. | ANODIZED | CLEAR | 6 | 3B/A6.0 | 3B/A6.0 | -- | 118 | MEET & GREET | 1" UNDERCUT DOOR, NO THRESHOLD, LOCATE CLOSER ON ROOM SIDE OF DOOR.
119 | 3'-2" | 7'-0" | 1 3/4" | 6C | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 9 | 2A/A6.0 | 2B/A6.0 | -- | 119 | ADOPTIONS | 1" UNDERCUT DOOR, LOCATE CLOSER ON ROOM SIDE OF DOOR.
120 | 3'-2" | 7'-0" | 1 1/2" | 4A | ABS-PLASTIC | PREFINISHED | CLOUD GRAY | -- | -- | METAL | PREFINISHED | GRAY | 2 | 6/A6.0 | 6/A6.0 | -- | 120 | FISH PREP. | IMPACT DOOR HINGE MOUNTED TO SIDEWALL (CHANNEL FRAME)
121 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 121 | FISH | NOT USED
122 | 3'-2" | 7'-0" | 1 3/4" | 6E | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 14 | 2A/A6.0 | 2B/A6.0 | -- | 122 | HOLDING #2 | PROVIDE DOOR LOUVER WITH MESH INSECT SCREEN ON HOLDING ROOM SIDE OF DOOR
123 | 3'-2" | 7'-0" | 1 3/4" | 6E | S.C. WOOD | PREFINISHED | WHITE BIRCH 0-95 | 1-1/2" | 1-1/2" | STEEL | PREFINISHED | ALUMATONE | 14 | 2A/A6.0 | 2B/A6.0 | -- | 123 | HOLDING #1 | PROVIDE DOOR LOUVER WITH MESH INSECT SCREEN ON HOLDING ROOM SIDE OF DOOR
200 | 3'-0" | 3'-0" | 1 3/4" | 3 | INS. H.M. | PAINT | P6 (COMMERCIAL WHITE) | 4" | 2" | H.M. | PAINT | MATCH WALL | 16 | 7A/A6.0 | 7B/A6.0 | 8/A6.0 | 200 | ROOF PARAPET | EXTERIOR PAINT COLOR TO MATCH CMU PAINT COLOR

## A7.0 ROOM FIN SCHEDULE
ROOM FINISH SCHEDULE | [28 empty] | REMARKS
ROOMS |  | FLOOR BASE |  |  |  |  | WALL #1 |  |  |  |  | WALL #2 |  |  |  |  | WALL #3 |  |  |  |  | WALL #4 |  |  |  |  | ROOMS |  | NOTE: SEE REQUIRED VENDOR LIST, WALL TYPE GENERAL NOTES ON SHEET A9.0, INTERIOR ELEVATIONS ON SHEETS A8.0, A8.1, A8.2, A8.3, A8.4, AND BASE DETAILS ON SHEET A11.0 FOR EXTENT AND ADDITIONAL INFORMATION. SEE KEY PLAN (1/A7.0) FOR WALL NUMBERS AND PAINT COLORS.
|  | MATERIALS |  |  |  |  | MATERIALS |  |  |  |  | MATERIALS |  |  |  |  | MATERIALS |  |  |  |  | MATERIALS
RM # | NAME | RUBBER | COMPOSITE | CONCRETE | CERAMIC TILE | OTHER | PAINT | GLAZING | WALL COVERING | CERAMIC TILE | WALLBOARD | PAINT | GLAZING | WALL COVERING | CERAMIC TILE | WALLBOARD | PAINT | GLAZING | WALL COVERING | CERAMIC TILE | WALLBOARD | PAINT | GLAZING | WALL COVERING | CERAMIC TILE | WALLBOARD | RM # | NAME
100 | VESTIBULE | FB-1 |  |  |  |  | ● | WC-5 |  |  | WB-1 | ● |  |  |  | WB-1 | ● | WC-5 |  |  | WB-1 | ● |  |  |  | WB-1 | 100 | VESTIBULE
101 | SALES AREA | FB-1 |  |  |  |  | ● | WC-5 |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | 101 | SALES AREA | PAINT SALES AREA COLUMNS AND COLUMN CONDUIT DROPS P-2 FULL HEIGHT. PAINT ALL RIGID POWER DROPS P-2 FULL HEIGHT. FB-1 ONLY ON WALLBOARD SURFACES.
102 | FRONT POS | FB-1** |  |  |  |  | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | [10 empty] | 102 | FRONT POS | ** FB-1 ON WALLBOARD SURFACES AND AT BASE OF MILLWORK.
103 | BOPIS CLOSET | FB-1 |  |  |  |  | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | 103 | BOPIS CLOSET
104 | MANAGER / VAULT | FB-1 |  |  |  |  | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | 104 | MANAGER / VAULT
105 | COMPUTER / COPY | FB-1 |  |  |  |  | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | 105 | COMPUTER / COPY
106 | ASSOCIATE RESOURCES | FB-1 |  |  |  |  | ● |  |  |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  |  |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | 106 | ASSOCIATE RESOURCES | *** AT AREAS WITHIN 24" OF WATER SOURCE.
107 | PET TRAINING |  |  |  | CT-1 | FB-4 | [10 empty] | ● |  |  | CT-1 | WB-1 |  |  |  | CT-1 | WB-1 | 107 | PET TRAINING
108 | HALL A | FB-1 |  |  |  |  | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | 108 | HALL A | *** AT ALL THREE (3) ALCOVE WALLS AT WATER COOLER - SEE INTERIOR ELEVATIONS.
109 | NOT USED
110 | UNISEX WASHROOM | FB-1 |  |  |  |  | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | 110 | UNISEX RESTROOM
111 | UNIVERSAL WASHROOM | FB-1 |  |  |  |  | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | ● |  | WC-3 |  | WB-2 (FIN. FLR. TO 6'-0") WB-1 (6'-0" AND ABOVE) | 110 | UNIVERSAL RESTROOM
113 | SALON CHECK-IN | FB-1** |  |  | CT-1 | FB-4 | ● |  |  |  | WB-1 | ● | WC-5 |  | CT-1 | WB-1 | ● |  |  | CT-1 | WB-1 | ● |  |  | CT-1 | WB-1 | 113 | SALON CHECK-IN | ** AT BASE OF MILLWORK
114 | SALON | FB-1 |  |  |  |  | ● |  | WC-3 |  | WB-1 | ● |  | WC-3 |  | WB-1 | ● |  | WC-3 |  | WB-1 | ● | WC-5 | WC-3 |  | WB-1 | 114 | SALON | WALL #2 WILL HAVE GRAPHICS SUPPLIED AND INSTALLED BY OTHERS ABOVE THE WC-3. .
115 | DRYING AREA | FB-1 | [6 empty] | WC-1 |  | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) |  |  | WC-1 |  | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) |  |  | WC-1 |  | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) |  |  | WC-1 |  | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) | 115 | DRYING AREA
116 | BATHING AREA |  |  | FB-3 | [5 empty] | CT-3 | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) |  |  |  | CT-3 | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) |  |  |  | CT-3 | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) |  |  |  | CT-3 | WB-3 (FIN. FLR. TO 10'-0") WB-2 (10'-0" AND ABOVE) | 116 | BATHING AREA
117 | RECEIVING |  | FB-2** |  |  | FB-5* |  |  | WC-4** WC-1*** |  | WB-1 (ABOVE PLYWOOD) *** WB-3 (SEE ELEV. A8.3) |  |  | WC-4** WC-1*** |  | WB-1 (ABOVE PLYWOOD) *** WB-3 (SEE ELEV. A8.3) |  |  | WC-1 |  | WB-1 (ABOVE PLYWOOD) *** WB-3 (SEE ELEV. A8.3) |  |  |  |  | WB-1 (ABOVE PLYWOOD) | 117 | RECEIVING | ** FB-2 AT ALL FRP. * FB-5 AT ALL PLYWOOD. ** WC-4 PLYWOOD FROM (FIN. FLR. TO 16'-0"). *** WC-1 AND WB-3 AT JANITOR'S SINK AND HOT WATER HEATERS.
118 | ADOPTIONS MEET & GREET | FB-1 |  |  |  |  | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | 118 | ADOPTIONS MEET & GREET
119 | ADOPTIONS | FB-1** | [6 empty] | WC-3 |  | WB-1 |  |  | WC-3 |  | WB-1 |  |  | WC-3 |  | WB-1 |  |  | WC-3 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | 119 | ADOPTIONS | *** AT ALL AREAS WITHIN 24" OF WATER SOURCE. ** FB-1 BASE AT FRP WALL PANELS AND AT BASE OF MILLWORK.
120 | FISH PREP | FB-1 |  |  |  |  | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | 120 | FISH PREP
121 | FISH EQUIPMENT | FB-1 |  |  |  |  | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | 121 | FISH EQUIPMENT
122 | HOLDING #2 | FB-1 |  |  |  |  | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | 122 | HOLDING #2
123 | HOLDING #1 | FB-1 |  |  |  |  | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | ● |  |  |  | WB-1 | ● |  |  |  | WB-1 | ● |  | WC-1 |  | WB-2 (FIN. FLR. TO 4'-0") WB-1 (4'-0" AND ABOVE) | 123 | HOLDING #1